## Sheet0
Code | Description | Unit | Mat Cost | Mat Factor | Mat Unit | Labor Cost | Labor Productivity | Labor Unit | Sub Cost | Equip Cost | Equip Productivity | Equip Unit | Other Cost
02.0344 Shoring and Support of Period Structures
02.0344.0010 | Shoring and Support of Period Structures | EA | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.0500 Protection
02.0500.0010 | Protection | EA | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.0500.0020 | Protection | SF | 0 | 0 |  | 0 | 0 |  | 0.5 | 0 | 0 |  | 0
02.0500.0030 | F/I Temporary Tarp(s) | SF | 0 | 0 |  | 0 | 0 |  | 1.75 | 0 | 0 |  | 0
02.1000 Demolition
02.1000.0000 | Demolition Item | EA | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.1000.0001 | Demolition Crew | SF | 0 | 0 |  | 115.96 | 0.07 | HR | 0 | 0 | 0 |  | 0
02.1000.0751 | Remove ACT Ceilings, Lights & Diffusers (Self-Performed) | SF | 0 | 0 |  | 34.15 | 50 | HR | 0 | 0 | 0 |  | 0
02.1000.1050 | Remove Asphalt Shingle Roof | SQ | 0 | 0 | SF | 0 | 0 |  | 12 | 0 | 0 |  | 0
02.1000.1070 | Remove Brick Floors | SF | 0 | 0 | SF | 0 | 0 |  | 4 | 0 | 0 |  | 0
02.1000.1080 | Remove Brick Veneer | SF | 0 | 0 | SF | 0 | 0 |  | 5 | 0 | 0 |  | 0
02.1000.1090 | Remove Brick Wall | SF | 0 | 0 | SF | 0 | 0 |  | 5 | 0 | 0 |  | 0
02.1000.1121 | Remove Stucco (Plan View) | SF | 0 | 0 |  | 0 | 0 |  | 2.5 | 0 | 0 |  | 0
02.1000.1220 | Remove Stucco | SF | 0 | 0 | SF | 0 | 0 |  | 2.5 | 0 | 0 |  | 0
02.1000.1240 | Remove GWB & Furring | SF | 0 | 0 | SF | 0 | 0 |  | 4 | 0 | 0 |  | 0
02.1000.1270 | Remove Isolated Footings | CY | 0 | 0 | CY | 0 | 0 |  | 13 | 0 | 0 |  | 0
02.1000.1280 | Remove Landscaped Area | SF | 0 | 0 | SF | 0 | 0 |  | 27 | 0 | 0 |  | 0
02.1000.1290 | Manholes Removal- Precast Concrete | EA | 0 | 0 | EA | 0 | 0 |  | 528 | 0 | 0 |  | 0
02.1000.1300 | Membrane Roofing Demolition | SQ | 0 | 0 | SF | 0 | 0 |  | 30 | 0 | 0 |  | 0
02.1000.1310 | Parapet Walls Demolition | SF | 0 | 0 | SF | 0 | 0 |  | 7 | 0 | 0 |  | 0
02.1000.1320 | Paving Removal | SY | 0 | 0 | SF | 0 | 0 |  | 12 | 0 | 0 |  | 0
02.1000.1340 | Plywood Sheathing up to 1 " Removal | SF | 0 | 0 | SF | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.1000.1370 | Remove Rubber Flooring | SF | 0 | 0 | SF | 0 | 0 |  | 4 | 0 | 0 |  | 0
02.1000.1530 | Remove Terrazzo Floors | SF | 0 | 0 | SF | 0 | 0 |  | 10 | 0 | 0 |  | 0
02.1000.1570 | Remove Interior Partitions | LF | 0 | 0 |  | 0 | 0 |  | 18 | 0 | 0 |  | 0
02.1000.1580 | Remove Millwork | LF | 0 | 0 |  | 0 | 0 |  | 25 | 0 | 0 |  | 0
02.1000.1590 | Remove Floor Tile | SF | 0 | 0 |  | 0 | 0 |  | 3.5 | 0 | 0 |  | 0
02.1000.1600 | Remove Wall Tile & Backing | SF | 0 | 0 |  | 0 | 0 |  | 3.5 | 0 | 0 |  | 0
02.1000.1601 | Remove Wall Tile & Backing (Plan View) | SF | 0 | 0 |  | 0 | 0 |  | 3.5 | 0 | 0 |  | 0
02.1000.1610 | Remove Flooring | SF | 0 | 0 |  | 0 | 0 |  | 2.5 | 0 | 0 |  | 0
02.1000.1620 | Remove House | SF | 0 | 0 |  | 0 | 0 |  | 5.5 | 0 | 0 |  | 0
02.1000.1630 | Remove Pool & Patio | LS | 0 | 0 |  | 0 | 0 |  | 8500 | 0 | 0 |  | 0
02.1000.1640 | Remove Masonry Building & Foundation | SF | 0 | 0 |  | 0 | 0 |  | 6.5 | 0 | 0 |  | 0
02.1000.1670 | Remove ACT Ceilings, Lights & Diffusers | SF | 0 | 0 |  | 0 | 0 |  | 1.25 | 0 | 0 |  | 0
02.1000.1680 | Remove GWB Ceilings | SF | 0 | 0 |  | 0 | 0 |  | 1.5 | 0 | 0 |  | 0
02.1000.1681 | Remove Plaster Ceilings | SF | 0 | 0 |  | 0 | 0 |  | 5 | 0 | 0 |  | 0
02.1000.1690 | Remove Elevator | EA | 0 | 0 |  | 0 | 0 |  | 50000 | 0 | 0 |  | 0
02.1000.1700 | Remove Exterior Storefront, Canopy & Cladding | LF | 0 | 0 |  | 0 | 0 |  | 140 | 0 | 0 |  | 0
02.1000.1701 | Remove Mid-Large Plumbing Fixtures | EA | 0 | 0 |  | 0 | 0 |  | 100 | 0 | 0 |  | 0
02.1000.1710 | Remove Plumbing Fixtures | EA | 0 | 0 |  | 0 | 0 |  | 75 | 0 | 0 |  | 0
02.1000.1720 | Remove Plumbing Fixtures & Existing Rough-Ins | EA | 0 | 0 |  | 0 | 0 |  | 125 | 0 | 0 |  | 0
02.1000.1730 | Remove Doors & Frames | EA | 0 | 0 |  | 0 | 0 |  | 75 | 0 | 0 |  | 0
02.1000.1740 | Remove Vinyl Flooring & Base (Self-Performed/SF) | SF | 0 | 0 |  | 34.15 | 20 | HR | 0 | 0 | 0 |  | 0
02.1000.1750 | Remove ACT Ceilings (Self-Performed) | SF | 0 | 0 |  | 34.15 | 100 | HR | 0 | 0 | 0 |  | 0
02.1000.1760 | Remove Carpet & Vinyl Base (Self-Performed/SF) | SF | 0 | 0 |  | 34.15 | 7 | HR | 0 | 0 | 0 |  | 0
02.1000.1770 | Remove Interior Partitions (Metal Framed) (Self-Performed/LF) | LF | 0 | 0 |  | 34.15 | 4 | HR | 0 | 0 | 0 |  | 0
02.1000.1780 | Remove GWB Ceiling/Framing (Self-Performed) | SF | 0 | 0 |  | 34.15 | 28 | HR | 0 | 0 | 0 |  | 0
02.1000.1790 | Remove Interior Doors & Frames (Self-Performed) | EA | 0 | 0 |  | 34.15 | 2 | HR | 0 | 0 | 0 |  | 0
02.1000.1800 | Remove Exterior Doors & Frames (Self-Performed) | EA | 0 | 0 |  | 34.15 | 1.5 | HR | 0 | 0 | 0 |  | 0
02.1000.1810 | Remove Floor Tile (Self-Performed) | SF | 0 | 0 |  | 34.15 | 10 | HR | 0 | 0 | 0 |  | 0
02.1000.1820 | Remove Wall Tile [Plan View] (Self-Performed) | SF | 0 | 0 |  | 34.15 | 15 | HR | 0 | 0 | 0 |  | 0
02.1000.1830 | Remove Millwork (Self-Performed) | LF | 0 | 0 |  | 34.15 | 2 | HR | 0 | 0 | 0 |  | 0
02.1000.1840 | Remove Vanities (Self-Performed) | EA | 0 | 0 |  | 34.15 | 1 | HR | 0 | 0 | 0 |  | 0
02.1000.1850 | Remove Plumbing Fixtures (Self-Performed) | EA | 0 | 0 |  | 34.15 | 2 | HR | 0 | 0 | 0 |  | 0
02.1000.1860 | Remove Light Fixtures (Self-Performed) | EA | 0 | 0 |  | 34.15 | 2 | HR | 0 | 0 | 0 |  | 0
02.1000.1870 | Remove Exterior Storefronts (Self-Performed) | LF | 0 | 0 |  | 34.15 | 1 | HR | 0 | 0 | 0 |  | 0
02.1000.1880 | Create Roof Opening for Ductwork (Self-Performed) | EA | 0 | 0 |  | 34.15 | 1 | HR | 0 | 0 | 0 |  | 0
02.1000.1890 | Create Roof Openings for Plumbing/Electric (Self-Performed) | EA | 0 | 0 |  | 34.15 | 2 | HR | 0 | 0 | 0 |  | 0
02.1000.1900 | Remove Millwork & Kitchen Equipment | LF | 0 | 0 |  | 0 | 0 |  | 30 | 0 | 0 |  | 0
02.1000.1910 | Remove Bath Accessories | EA | 0 | 0 |  | 0 | 0 |  | 35 | 0 | 0 |  | 0
02.1000.1920 | Remove Appliance | EA | 0 | 0 |  | 0 | 0 |  | 150 | 0 | 0 |  | 0
02.1000.1930 | Remove Bathtub | EA | 0 | 0 |  | 0 | 0 |  | 275 | 0 | 0 |  | 0
02.1000.1940 | Remove Countertops | LF | 0 | 0 |  | 0 | 0 |  | 6 | 0 | 0 |  | 0
02.1000.1950 | Demo Studio + 1-Bath Apartment | EA | 0 | 0 |  | 0 | 0 |  | 4600 | 0 | 0 |  | 0
02.1000.1960 | Demo 1-Bedroom + 1-Bath Apartment | EA | 0 | 0 |  | 0 | 0 |  | 5400 | 0 | 0 |  | 0
02.1000.1970 | Demo 2-Bedroom + 2-Bath Apartment | EA | 0 | 0 |  | 0 | 0 |  | 6500 | 0 | 0 |  | 0
02.1000.1980 | Demo 3-Bedroom + 2 Bath Apartment | EA | 0 | 0 |  | 0 | 0 |  | 7200 | 0 | 0 |  | 0
02.1000.1990 | Demo 4-Bedroom + 3-Bath Apartment | EA | 0 | 0 |  | 0 | 0 |  | 8800 | 0 | 0 |  | 0
02.1000.2000 | Demo Corridor | SF | 0 | 0 |  | 0 | 0 |  | 5.5 | 0 | 0 |  | 0
02.1000.2010 | Remove Kitchen Cabinets | LF | 0 | 0 |  | 0 | 0 |  | 11 | 0 | 0 |  | 0
02.1000.2020 | Remove Exterior Storefront | LF | 0 | 0 |  | 0 | 0 |  | 80 | 0 | 0 |  | 0
02.1000.2030 | Remove Exterior Storefront, Canopy & Cladding (NYC) | LF | 0 | 0 |  | 0 | 0 |  | 145 | 0 | 0 |  | 0
02.1000.2040 | Remove Tables & Chairs | EA | 0 | 0 |  | 0 | 0 |  | 75 | 0 | 0 |  | 0
02.1000.2050 | Remove Stone Veneer | SF | 0 | 0 |  | 0 | 0 |  | 5.5 | 0 | 0 |  | 0
02.1000.2060 | Remove Stone Veneer (Plan View) | SF | 0 | 0 |  | 0 | 0 |  | 5.5 | 0 | 0 |  | 0
02.1000.2070 | Remove GWB Walls (Plan View) | SF | 0 | 0 |  | 0 | 0 |  | 1.25 | 0 | 0 |  | 0
02.1000.2071 | Remove Plaster Walls (Plan View) | SF | 0 | 0 |  | 0 | 0 |  | 5 | 0 | 0 |  | 0
02.1000.2080 | Remove Toilet Partitions | EA | 0 | 0 |  | 0 | 0 |  | 150 | 0 | 0 |  | 0
02.1000.2090 | Remove Urinal Screens | EA | 0 | 0 |  | 0 | 0 |  | 30 | 0 | 0 |  | 0
02.1000.2100 | Remove Bath Accessory | EA | 0 | 0 |  | 0 | 0 |  | 20 | 0 | 0 |  | 0
02.1000.2110 | Remove Interior Storefronts | LF | 0 | 0 |  | 0 | 0 |  | 30 | 0 | 0 |  | 0
02.1000.2120 | Remove Wallpaper (Plan View) | SF | 0 | 0 |  | 0 | 0 |  | 1.25 | 0 | 0 |  | 0
02.1000.2150 | Remove Window and Frame, wood or metal | SF | 0 | 0 |  | 47.6 | 0.08 | HR | 0 | 0 | 0 |  | 0
02.1000.2160 | Remove Hardwood (nailed) flooring | SF | 0 | 0 |  | 34.15 | 0.03 | HR | 0 | 0 | 0 |  | 0
02.1000.2170 | Remove Paint from Existing CMU/Masonry | SF | 0 | 0 |  | 38.57 | 0.04 | HR | 0 | 0 | 0 |  | 0
02.1000.2180 | Demolition Container | EA | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  | 750
02.1000.2190 | Remove Window (Residential) | EA | 0 | 0 |  | 0 | 0 |  | 150 | 0 | 0 |  | 0
02.1000.9000 | ***Boilerplate Notes*** | LS | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.1000.9001 | Provide Dumpsters, Trucking & Legal Disposal of Debris. Pay Any & All Fees Associated with Disposal. | EA | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.1000.9002 | Provisions for dust & debris control measures, including all water. | EA | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.1000.9012 | Remove Existing Sprinkler Heads, Piping, Straps, Etc. | SF | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.1000.9022 | Remove Ceiling Tile (Grid to Remain) | SF | 0 | 0 |  | 0 | 0 |  | 0.65 | 0 | 0 |  | 0
02.1000.9032 | Remove Interior Glass Storefront Doors | EA | 0 | 0 |  | 0 | 0 |  | 200 | 0 | 0 |  | 0
02.1500 Containers/Waste Removal
02.1500.0000 | Containers/Waste Removal | LS | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.1500.0010 | 12-Yard Container | EA | 0 | 0 |  | 0 | 0 |  | 700 | 0 | 0 |  | 0
02.1500.0020 | 20-Yard Container | EA | 0 | 0 |  | 0 | 0 |  | 750 | 0 | 0 |  | 0
02.1500.0030 | 30-Yard Container | EA | 0 | 0 |  | 0 | 0 |  | 925 | 0 | 0 |  | 0
02.1500.0040 | 20-Yard Masonry Container | EA | 0 | 0 |  | 0 | 0 |  | 950 | 0 | 0 |  | 0
02.2100 Surveying
02.2100.1000 | Curb Stakes @ 25' O.C 3 Visits | LF | 0 | 0 | SF | 0 | 0 |  | 5 | 0 | 0 |  | 0
02.2100.1010 | Initial Boundary And Survey Markers | DY | 0 | 0 | SF | 0 | 0 |  | 1250 | 0 | 0 |  | 0
02.2100.1020 | Measured Drawings | LS | 0 | 0 | LS | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.2100.1030 | Sanitary Sewer Alignment | EA | 0 | 0 | SF | 0 | 0 |  | 750 | 0 | 0 |  | 0
02.2100.1040 | Site Rough Grading, Set Lath | CY | 0 | 0 | SF | 0 | 0 |  | 2 | 0 | 0 |  | 0
02.2100.1050 | Storm Drainage Alignment And Grade | LS | 0 | 0 | SF | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.2500 Asbestos Remediation
02.2500.0000 | Asbestos Abatement | EA | 0 | 0 | LS | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.2500.1000 | 6" Pipe Insulation using glove Bags | LF | 61 | 0 | LF | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.2500.1070 | Removal Of Asbestos Pipe Insulation | LF | 0 | 0 | LF | 0 | 0 |  | 45 | 0 | 0 |  | 0
02.2500.1080 | Remove Ceiling Insulation Containing Asbestos | SF | 0 | 0 | SF | 0 | 0 |  | 28 | 0 | 0 |  | 0
02.2500.1090 | Abate Floor Tile | SF | 0 | 0 |  | 0 | 0 |  | 15 | 0 | 0 |  | 0
02.2500.1091 | Abate Plaster Walls | SF | 0 | 0 |  | 0 | 0 |  | 5.75 | 0 | 0 |  | 0
02.2500.1092 | Abate Plaster Ceilings | SF | 0 | 0 |  | 0 | 0 |  | 6.36 | 0 | 0 |  | 0
02.2500.1093 | Abate Roof Membrane Down to Existing Deck | SF | 0 | 0 |  | 0 | 0 |  | 9.75 | 0 | 0 |  | 0
02.2500.1094 | Abate Roof Flashing | LF | 0 | 0 |  | 0 | 0 |  | 11 | 0 | 0 |  | 0
02.2500.1100 | Asbestos Abatement NYC-DEP / NYS-DOL Filing Fees | EA | 0 | 0 |  | 0 | 0 |  | 3200 | 0 | 0 |  | 0
02.2500.1110 | Asbestos Debris Hauling | EA | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.2500.1120 | Asbestos Notification/Fee | EA | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.2500.1130 | Asbestos 3rd Party Monitoring | EA | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.3200 Geotechnical Investigations
02.3200.1000 | Exploratory Excavations | LS | 0 | 0 | LS | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.3200.1010 | Geotechnical Investigations | LS | 0 | 0 | LS | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.3200.1020 | Geotechnical Monitoring Before Construction | LS | 0 | 0 | LS | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.3200.1030 | Groundwater Monitoring Before Construction | LS | 0 | 0 | LS | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.3200.1040 | Material Testing | LS | 0 | 0 | LS | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.3200.1050 | Subsurface Drilling And Sampling | LS | 0 | 0 | LS | 0 | 0 |  | 0 | 0 | 0 |  | 0
02.6100 Contaminated Site Remediation
02.6100.1000 | Asbestos Hazard Survey - 4 Hrs. Minimum | HR | 0 | 0 | HR | 75 | 1 | HR | 0 | 0 | 0 |  | 0
02.6100.1010 | Asbestos Report Per 1000 Sf Of Space - Minimum Of 1000 Sf | HR | 0 | 0 | SF | 0 | 0 |  | 28 | 0 | 0 |  | 0
02.6100.1020 | Contaminated Site Remediation | EA | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  | 0