## Sheet0
Description | Quantity | Unit Cost | Total
02 Existing Conditions
02.1000 Demolition
Remove & Salvage Bath Accesories | 1.00 EA | 600 | 600
Dispose Of U.V. Disconnected By Mechanical Contractor | 18.00 EA | 150 | 2700
Remove Dry Erase Board | 11.00 EA | 75 | 825
Remove Dry Erase Film & Associated Adhesive From Chalk Board | 1.00 EA | 600 | 600
Remove & Salvage Projection Screen | 1.00 EA | 450 | 450
Remove & Salvage Wall Mounted Shelves | 7.00 EA | 200 | 1400
Dispose Of Existing Convector Disconnected By Mechanical Contractor | 1.00 EA | 150 | 150
Remove & Salvage Cork Board | 8.00 EA | 100 | 800
Remove & Salvage Accessories/Signage | 8.00 EA | 600 | 4800
Remove & Salvage Wall Mounted Tack Strips | 8.00 EA | 50 | 400
Dispose Of Existing U.V. Disconnected By Mechanical Contractor | 13.00 EA | 150 | 1950
Remove Dry Erase Boards | 2.00 EA | 75 | 150
Remove & Salvage Dry Erase Boards | 9.00 EA | 75 | 675
Remove Dry Erase Film & Associated Adhesive From Chalk Board | 1.00 EA | 400 | 400
Remove & Salvage Window AC Unit | 32.00 EA | 300 | 9600
Remove & Salvage Dry Erase Board | 2.00 EA | 75 | 150
Remove Signage | 2.00 EA | 25 | 50
Remove & Salvage Bath Accessories | 4.00 EA | 450 | 1800
Remove Plywood Panel @ Window | 1.00 EA | 250 | 250
Remove Plaster Ceilings | 6,618.50 SF | 7 | 46329.5
Remove Plaster Ceiling | 8,781.06 SF | 6 | 52686.36
Remove Plaster Ceiling | 3,052.66 SF | 7 | 21368.62
Remove GWB & Furring | 176.06 SF | 4 | 704.24
Remove Half Wall & Non Structural Columns | 13.57 LF | 30 | 407.1
Remove Wall Mounted Plywood | 8.04 LF | 18 | 144.72
Remove Interior Partitions | 43.44 LF | 24 | 1042.56
Remove Sloped Enclosure In Its Entirety | 9.35 LF | 18 | 168.3
Remove Millwork | 497.77 LF | 30 | 14933.1
Remove Inset Built-In Shelves | 14.01 LF | 25 | 350.25
Remove Floor Tile | 199.03 SF | 6 | 1194.18
Remove Wall Tile & Backing | 354.08 SF | 6 | 2124.48
Remove 2 Layers Of Wall Tile & Backing | 676.43 SF | 5 | 3382.15
Remove 2 Layers Wall Tile | 359.28 SF | 5 | 1796.4
Remove Flooring | 1,592.99 SF | 4 | 6371.96
Remove ACT Ceilings, Lights & Diffusers | 21,307.25 SF | 3 | 63921.75
Remove Glued On Acoustic Ceiling System | 108.44 SF | 3 | 325.32
Remove GWB Ceilings Below Bathroom To Accommodate Plumbing Work | 199.03 SF | 5 | 995.15
Remove Spline Ceiling Above ACT Ceilings | 1,718.54 SF | 2.5 | 4296.35
Remove GWB Ceilings | 178.68 SF | 3 | 536.04
Remove GWB Ceilings | 277.93 SF | 1.5 | 416.9
Remove Masonry Walls | 38.64 LF | 140 | 5409.6
Remove Plumbing Fixtures | 11.00 EA | 150 | 1650
Remove Plumbing Fixtures | 18.00 EA | 75 | 1350
Remove Plumbing Fixtures | 26.00 EA | 125 | 3250
Remove Doors & Frames Set In Block Wall | 1.00 EA | 400 | 400
Remove Doors & Frames | 2.00 EA | 75 | 150
Remove CMU Wall | 30.51 LF | 175 | 5339.25
Remove Portion Of Block Wall | 4.10 LF | 175 | 717.5
Remove CMU Wall | 15.04 LF | 175 | 2632
Remove 5SQFT Section Of Damaged GWB | 5.08 SF | 30 | 152.4
Remove Toilet Partitions | 2.00 EA | 225 | 450
Remove Toilet Partitions | 13.00 EA | 250 | 3250
Remove Bathroom Signage | 2.00 EA | 20 | 40
Demolition Total |  |  | 276036.18
Existing Conditions Total |  |  | 276036.18
03 Concrete
03.1000 Concrete
Prep Floor Where Floor Mounted Urinals Removed | 5.00 EA | 250 | 1250
Patch Concrete Slab | 98.08 SF | 26 | 2550.08
Concrete Total |  |  | 3800.08
03.1500 Concrete Cutting
Sawcut Block Window Opening 12" Demolition | 19.92 LF | 155 | 3087.6
Concrete Cutting Total |  |  | 3087.6
Concrete Total |  |  | 6887.68
05 Metal
05.0050 Structural Steel
Steel Reinforcing (Sub Proposal) | 1.00 LS | 73500 | 73500
Structural Steel Total |  |  | 73500
Metal Total |  |  | 73500
07 Thermal and Moisture Protection
07.3000 Roofing
Infill Roof Opening | 36.77 SF | 25 | 919.25
Cut Openings For HVAC Roof Pentrations | 16.46 SF | 50 | 823
Patch Roof In Areas Of Removed HVAC Penetrations | 36.77 SF | 40.5 | 1489.19
Cut New Opening For Roof Penetration | 98.85 SF | 50 | 4942.5
Provide Temp Roofing | 241.15 SF | 30 | 7234.5
Cut & Remove Roof Deck To Facilitate Mechanical Work | 79.74 SF | 40 | 3189.6
Provide Temp Roofing | 398.59 SF | 30 | 11957.7
Patch Existing Roof | 35.89 SF | 50 | 1794.5
F/I Roof Walkway Mat | 489.37 SF | 10 | 4893.7
F/I New Roof Slip Resistant Walk Way Mat | 1,573.92 SF | 10 | 15739.2
Flash Roof Curb (Up To 3'x3') | 50.00 EA | 400 | 20000
Flash Roof Curb (Up To 4'x8') | 4.00 EA | 1500 | 6000
Flashing for Duct Supports | 22.00 EA | 300 | 6600
Roofing Total |  |  | 85583.14
Thermal and Moisture Protection Total |  |  | 85583.14
08 Openings
08.1100 HM Doors, Frames & HW
F/O HM Frame (Single) | 1.00 EA | 500 | 500
F/O Solid-Core Wood Door | 2.00 EA | 1500 | 3000
F/O Door Hardware | 2.00 EA | 900 | 1800
HM Doors, Frames & HW Total |  |  | 5300
08.5000 Windows
Replace Window Panel With New Glazing At Existing AC Removal 18"x18" | 32.00 EA | 750 | 24000
Replace Window Panel With New Glazing At Existing AC Removal 38"x38" | 1.00 EA | 1100 | 1100
F/I W3 Window (Bullet Proof) | 1.00 EA | 11500 | 11500
F/I W2 Window | 1.00 EA | 3200 | 3200
F/I W1 Window | 1.00 EA | 2700 | 2700
Windows Total |  |  | 42500
Openings Total |  |  | 47800
09 Finishes
09.2300 Drywall & Carpentry
Cut & Frame Opening To Accommodate New Glazing | 1.00 EA | 600 | 600
Patch Wall @ Demolished Louver | 1.00 EA | 500 | 500
F/I Metal Plate Over Remaining Opening From U.V. Feeders | 31.00 EA | 100 | 3100
Re-Install Salvaged Dry Erase Boards | 11.00 EA | 250 | 2750
Seal Around Closed Up Openings With Spray Foam | 28.00 EA | 50 | 1400
Patch To Match Wall On Both Sides @ New Glazing | 3.00 EA | 450 | 1350
Infill Wall @ Removed Fan Coil Locations [3-5/8" Studs With Insulation/2-1/2" Studs/Class II Vapor Barrier/5/8" GWB/Plaster Finish To Match Existing] | 11.00 EA | 400 | 4400
Patch Wall @ Removed Wall | 7.00 EA | 300 | 2100
F/I 1" Rigid Insulation @ Opening From Removed U.V. | 260.00 SF | 5 | 1300
F/I 5/8" GWB Walls (Level 4 Finish) | 4,409.77 SF | 4.35 | 19182.5
F/I 5/8" GWB Ceilings (Level 4 Finish) | 273.29 SF | 4.35 | 1188.81
Patch Existing GWB Walls | 27,291.11 SF | 2 | 54582.22
F/I Hung GWB Ceilings | 42.54 SF | 15 | 638.1
F/I Blanket Insulation | 2,753.51 SF | 2.2 | 6057.72
F/I 5/8" GWB Soffit Fascia | 631.12 SF | 8 | 5048.96
I/O Bath Accessories | 5.00 BATH | 650 | 3250
I/O Interior HM Door, Frame & HW (Single) | 2.00 EA | 375 | 750
F/I 1-5/8" Metal Stud Framing | 609.48 SF | 6 | 3656.88
F/I 3-5/8" Metal Stud Framing | 2,175.00 SF | 7 | 15225
F/I 3-5/8" Metal Stud Soffit Framing | 364.19 SF | 10 | 3641.9
F/I 6" Metal Stud Framing | 276.60 SF | 8.5 | 2351.1
F/I 5/8" Plywood Walls @ Removed Fan Coil Units | 136.10 SF | 20 | 2722
F/I Acoustical Sealant | 585.82 LF | 2 | 1171.64
Drywall & Carpentry Total |  |  | 136966.83
09.2500 Acoustical Ceilings
F/I ACT Ceilings [Armstrong School Zone Fine Fissured 1820 White 24x24] | 31,965.64 SF | 7.08 | 226166
F/I ACT Standard Grid [15/16" Prelude XL Grid White] | 31,965.64 SF | 4.88 | 155838.79
Acoustical Ceilings Total |  |  | 382004.79
09.3013 Tile & Stone
Patch Floor Tile To Match Existing @ All Removals | 1.00 EA | 5000 | 5000
Acid Wash Tile Floor | 325.79 SF | 5 | 1628.95
F/I TB-1 [Crossville Color By Numbers Cove Base Tea For Two Gloss WT02 4"x8"x1/4"] | 1,950.00 LF | 15.85 | 30907.5
F/I TF-1 Floor Tile [Daltile Keystones Uptown Taupe Speckle D201 2"x2" Mosaic] | 185.07 SF | 34.65 | 6412.68
F/I Wall Tile [Crossville Color By Numbers Tea For Two Gloss WT02 & Carbon 14 WT14 4"x8"x1/4"] @ 1st Floor Girls Bathroom | 332.35 SF | 34.65 | 11515.93
F/I Wall Tile [Crossville Color By Numbers Tea For Two Gloss WT02 & Carbon 14 WT14 4"x8"x1/4"] @ Boys Bathroom | 348.10 SF | 34.65 | 12061.67
F/I Wall Tile [Crossville Color By Numbers Tea For Two Gloss WT02 & Carbon 14 WT14 4"x8"x1/4"] | 1,257.96 SF | 34.65 | 43588.32
F/I TS-3 Marble Double Beveled Threshold [Daltile ADA Compliant] | 1.00 EA | 250 | 250
F/I Waterproofing for Wall Tile | 409.73 SF | 5.25 | 2151.08
F/I Waterproofing for Floor Tile [Daltile Keystones Uptown Taupe Speckle D201 2"x2" Mosaic] | 185.07 SF | 6.5 | 1202.96
Tile & Stone Total |  |  | 114719.09
09.6000 Flooring
Patch Flooring & Floor Base To Match Existing @ Demolished U.V. | 8.00 EA | 500 | 4000
F/I VCT-1 Including Light Prep [Armstrong Standard Excelon Imperial Texture Silk 59234] | 1,828.47 SF | 5 | 9142.35
F/I VCT-1,2,3 Including Light Prep [Armstrong Standard Excelon Imperial Texture Silk 59234, Field Gray 51927, Ruby Red 57534] | 13,714.29 SF | 5 | 68571.47
Standard Floor Prep | 15,542.76 SF | 1 | 15542.76
F/I RB-1 4" Rubber Cove Base [Tarkett Traditional Bedrock TA6] | 499.87 LF | 6 | 2999.22
F/I RB-1/2 4" Rubber Cove Base [Tarkett Traditional Bedrock TA6, Millwork 40 Black 1.5" Shoe Molding] | 1,911.94 LF | 6.5 | 12427.62
F/I TS-1 Transition Strip [Anodized Aluminum Schluter Systems Or Equal Vinpro-T] | 55.57 LF | 50 | 2778.5
Flooring Total |  |  | 115461.92
09.7200 Dry Erase Surfacing
F/I WS-1 Everwhite/Equal [Ever EZ Resurfacing Panel, White] | 160.63 SY | 20.8 | 3341.1
Dry Erase Surfacing Total |  |  | 3341.1
09.9100 Painting
Paint Radiator Cover Supplied By M.C. | 2.00 EA | 274.53 | 549.05
Paint Metal Cover | 1.00 EA | 274.53 | 274.53
Paint GWB Walls | 2,467.97 SF | 1.45 | 3581.2
Paint GWB Ceilings | 92.17 SF | 1.76 | 162.66
Paint GWB Ceilings | 794.57 SF | 1.45 | 1152.97
Paint/Stain Wood Door + HM Frame (Single) | 2.00 EA | 215.7 | 431.4
Paint Existing GWB Walls | 27,291.11 SF | 1.45 | 39601.33
Paint Existing HM Door & Frame (Single) | 18.00 EA | 215.7 | 3882.59
Paint GWB Soffit Fascia | 142.89 SF | 2.55 | 364.26
Painting Total |  |  | 50000
Finishes Total |  |  | 802493.73
10 Specialties
10.2600 Wall And Door Protection
F/I Corner Guards | 4.00 EA | 350 | 1400
Wall And Door Protection Total |  |  | 1400
10.2800 Bath Accessories
F/O Grab Bar 18" | 5.00 EA | 50 | 250
F/O Grab Bar 36" | 5.00 EA | 55 | 275
F/O Grab Bar 42" | 5.00 EA | 60 | 300
F/O Tampon/Sanitary Napkin Dispenser | 1.00 EA | 400 | 400
F/O Tampon/Sanitary Napkin Dispenser | 1.00 EA | 400 | 400
F/O ADA Room Sign w/Braille | 8.00 EA | 70 | 560
F/O Sanitary Napkin Disposal | 8.00 EA | 50 | 400
F/O Bath Mirror 24"X36" | 19.00 EA | 175 | 3325
Bath Accessories Total |  |  | 5910
10.2900 Toilet Partitions
F/I Toilet Partition(s) | 105.08 LF | 200 | 21016
F/I Urinal Screen(s) | 10.00 EA | 900 | 9000
Toilet Partitions Total |  |  | 30016
Specialties Total |  |  | 37326
97 Notes/Exclusions/RFIs/Etc.
97.0000 Notes/RFIs/Exclusions/Allowances:
Exclusion: Rooftop Mechanical Equipment To Be Removed By Mechanical Contractor | 1.00 EA | 0 | 0
Exclusion: Painting of rooms where fan coil units were removed and the walls were filled in. | 1.00 EA | 0 | 0
Notes/RFIs/Exclusions/Allowances: Total |  |  | 0
Notes/Exclusions/RFIs/Etc. Total |  |  | 0
Sub-Total (Base Cost) |  |  | 1329626.73

## Summary
Description |  | Total
Sub-Total (Base Cost) |  | 1329626.73
Material | 10.0000% | 29083.94
Sub-Total (Direct Cost) |  | 1358710.67
General Conditions | 10.0000% | 135871.07
Fee | 6.5000% | 97147.81
Insurance | 3.0000% | 47751.89
Total Estimate |  | 1639481.44
Material | 290839.44
Labor | 0
SubContractor | 1038787.29
Equipment | 0
Other | 0