Touchtel Electric & Datacom 1897 Clove Rd Fl 2

Staten Island, NY 10304, US

2128092101

Prepared By:

Steven Halpern

(212) 809-2101

shalpern@ttedi.com

Project: BEACH BUM STATEN ISLAND

Scope of Work

# E-03 PWR

Transformer, dry-type, 3 phase 480 V primary 120/208 V secondary, 150 kVA

Transformer, dry-type, nonventilated, 3 phase 480 V primary 120/208 V secondary, 45 kVA 85 Amp, 4 Wire CU Feeder, 1" RGS 4 #4, 1 #8

200 Amp, 4 Wire CU Feeder, 2" RGS 4 #3/0, 1 #4

#8-3 Copper Stranded Armored (MC) Cable (2) CONN

Motor starters and controls, combination starter & fused disconnect, 120 volt, 1 pole, .5 HP motor Duplex receptacle, GFCI, 20 amp, with indicating light and wall plate, commercial-grade

30A, 250V, Nema L6-30R 2 Pole, 3 Wire, Grounding Locking Type Connector Bodies Duplex receptacle wall plate, 2 gang, plastic

Safety switches, general duty, 3 pole, nonfusible, 240 volt, 60 amp, NEMA 1 10ft.EMT Stub-up

#6-3 Copper Stranded Armored (MC) Cable 10-3 Copper Stranded Armored (MC) Cable

200 Amp, 4 Wire CU Feeder, 2" EMT 4 #1/0, 1 #6

3 EMT 3 #350, 1 #1/0

Panel, main circuit breaker, 120/208 volt, 3 pole, 4 wire 400 amp

Panel, NQOD, w/ (42) 20 amp 1 pole circuit breakers, 3 wire 120/240 volts with main circuit breaker 225 amp main

# E-03 LTG

Exit sign ceiling or wall mount, incandescent, double face

Emergency light unit, lead battery operated, twin sealed beam, 25 watt, 6 volt each 2' x 2' LED recess mounted,

Motion Sensor WITH BOX 2' LED Linear fixture

# GENERAL CONDITIONS

SMALL TOOLS CONSUMABLES

Notes

| Summary |  |  |  |  |
| --- | --- | --- | --- | --- |
| Cost Type |  | Taxes |  |  |
| Labor and Adjustments @ $101.32/ hr | $36,629.36 | Labor and Adjustments Tax |  | $0.00 |
| Materials | $35,122.18 | Material Tax |  | $3,117.09 |
| Subtotal | $71,751.54 | Total Taxes |  | $3,117.09 |
| Others |  |  |  |  |
| Customer Satisfaction | -$746.64 |  |  |  |
| PERMITS | $878.00 |  |  |  |
| Total Others | $131.36 |  |  |  |
| $75,000 |  | Accepted By | Date |  |