9/18/25											Proposal

Montana Contracting,

173 N Route 9W

Congers, NY 10920

Re: Chartwell, 77 Brenner Drive, Congers, New York.

Scope of work – Masonry

- Furnish & install 10” interior CMU walls at Stair #1 and Stair #2 as per Details on Drawings A-401 and A-402.

- Furnish & install 12” Exterior CMU wall at Stair #2 as per Details on Drawings A-401 and A-402.

- Furnish & install 12” CMU interior walls at the Elevator as per Details on Drawings A-401 and A-402.

- Furnish & install dowels @ base of CMU walls, drilled into slab with Hilti epoxy, centers to be as per the CMU reinforcement schedule.

- Reinforced CMU cells to be grouted solid.

- Deliveries and clean up included.

TOTAL SUM FOR SCOPE OF WORK……………$198,530.00

Notes & Exclusions.

- All work on regular time.

- Price based on Non-union labor.

- Temp power & water supplied by GC.

- Scaffolding by others

- Welding excluded.

Regards

__________________

Tony Donnelly