T&J Ahern LLC

159 S. White Rock RD 
Holmes, NY12531

914 656-0042

ahernbrothers@aol.com

Proposal 014-25

JOB :  Crest House

Cold Spring, New York 10516

Date:  1/1/25

Attn: Steve Catalanotto- Mantana Contracting

| Description | units | Price | total |
| --- | --- | --- | --- |
| 22 Guage Standing seam metal roofing system, 22-gauge Fascia and 1 layer of High temp underlayment. | 3800 Sf | $109,337.70 | $ 109,337.70 |
| Safety Anchors | 4 | $ 1,200.00 | $ 4,800.00 |
| 22-gauge box gutters and leaders | L.116 G.110 | $ 4,846.88 | $ 4,846.88 |
| Snow Guards: Deco 85RF Pad style with S55 Clip | 100 | $ 4,342.00 | $ 4,342.00 |
| Two Layers of Iso, 1 layer of Hunter 4.5 20PSI and one lay of 4.1 Hunter Nail board Base HT underlayment to metal deck and 1 layer on nail board. | 3800 SF | $ 52,108.00 | $52,108.00 |
| PT Blocking: Provide all perimeters, skylight, anchor and all blocking necessary at all penetrations. Two layers of zip sheathing at fascia. Blocking and ISO at curbs | 300 LF | $ 23,800.00 | $ 23,800.00 |
| Sky Lights: Supply and install Velux Skylights, with shades and electric openers. Includes all curbs and flashing | 4 | $ 20,400,00 | $ 20,400.00 |
| Soffit Insulation: Supply and Install 2 layers of Rockwool 2.5 comfort 80. | 15000 Sf | $ 14,500.00 | $ 14,500.00 |
| Hat Channel Supply and install all hat channel, to receive soffit panels. | 1500 LF | $ 8,000.00 | $ 8,000.00 |
| Soffits: Supply and install soffit panels. | 3000 | $ 52,652.00 | $ 52,652.00 |
| Flat Roofing systems on Spider deck and sun deck, Install tapered Insulation, and ½ Dens deck. Install TOP membrane with heat | 1580SF | $44,500.00 | $ 44,500.00 |
| welded seams. Install internal gutters and scuppers. |  |  |  |
| Decorative Metal on Spider Deck: Install custom fabricated 1/8” aluminum panels to match drawing, new panels to be custom painted to match soffits. Includes all necessary blocking and supports | 144 SF | $ 38,200.00 | $ 38,200.00 |  |
| Install flat, soffit panels on the underside of decorative metal panels. Includes hat channel as necessary. | 380 Sf | $ 8,000.00 | $ 8,000.00 |
| Aluminum Planter: custom fabricate and install 1/8” Aluminum planter box with welded seams. Install Siplast, parapro liquid membrane in plater box. | 80sf | $ 12,000.00 | $ 12,000.00 |
| General conditions: Man lifts, scaffolding |  | $ 19,800.00 | $ 19,800.00 |
| Pricing is good for 30 days, if Tariffs are implemented on material prices may change. |  | Total: | $ 417,286.58 |
| Thank you, T&J Ahern LLC. |  |