T&J Ahern LLC

159 S. White Rock RD 
Holmes, NY12531

914 656-0042

ahernbrothers@aol.com

Proposal

JOB: 257 River RD

Grand View on the Hudson

Date: 9/21/25

Attn: Ines MacAdams- Mantana Contracting

| Description | units | Price | Total |
| --- | --- | --- | --- |
| Standing Seam metal Roofing system: Install high Temperature underlayment. 16”, 1 ½” double lock seam, 032 aluminum panels, with curved edge at gutter eave. | 3,500.00 SF | $19.00 SF | $66, 500,00 |
| EPDM Flat roofing system: Install tapered ISO and ½ coverboard. Install 060 EPDM with all necessary flashing. | 278 SF | $ 22.00 SF | $ 6,116.00 |
| Gutters leaders: Install 6” 1/2 round gutters and 4” round aluminum leaders. | 145 LF gutter 160 LF leader | $ 24.00 LF $ 16.00 LF | $ 3,480.00 $ 2,560.00 |
| Snow Retainers/ Guards: Install Rocky Mount, double rail snow rails. | Material includes seam brackets to match the roof mill finish aluminum rails. 150 LF | $ 62. 15 LF | $ 9,322.50 |
|  |  | Total: | $ 87,978.50 |
| Prices are good for 30 days |  |  |  |

Thank you, T&J Ahern LLC