T&J Ahern LLC

159 S. White Rock RD 
Holmes, NY12531

914 656-0042

ahernbrothers@aol.com

Proposal

JOB: li residence

5 Heidi Lane, Gardiner NY 12525

Date: 1/31/25

Attn: Steve Cantalanoto  Mantana Contracting

| Description | units | Price | Total |
| --- | --- | --- | --- |
| Roof: 1/4 tapper ISO minimum 4.3”, ½ cover board and 060 EPDM fully adhered | 4200 Sf | $ 19.00 | $79,000.00 |
| Siding/ Trim, hemlock soffit | 3800 Sf 795 SF | $ 19.00 sf | $ 87,305.00 |
| 3” rockwool comfort board and 1x4 PT horizontal and vertical furring | 3800 SF CB 7000 LF furring | $ 6,00 | $ 34,200.00 |
| Metal edge 050 aluminum | 463 LF | $ 21.00 | $ 9,954.50 |
| All pricing may increase due to tariffs on material only. |  |  |  |
|  |  | total | $ 210,459.50 |

Thank you,

T&J Ahern LLC