T&J Ahern LLC

159 S. White Rock RD 
Holmes, NY12531

914 656-0042

ahernbrothers@aol.com

Proposal

JOB: Kemmperer Residence

45 Haviland Ct, Saugerties NY, 12477

Date: 7/18/24

Attn: Steve Cantalanoto  Mantana Contracting

| Description | units | Price | Total |
| --- | --- | --- | --- |
| Main building 26 gauge Standing seam roof, high temp underlayment | 1250 Sf | $ 1,500.00 | $ 18,750.00 |
| 6” Metal Fascia board | 146 LF | $ 16.00 | $ 2,336.00 |
| Flat roofing: Install coverboard, .080 Versico EPDM roofing system | 1850 SF | $ 1,200 | $ 22,220.00 |
| Install 1x6 metal fascia | 232 | $ 16,00 | $ 3,712.00 |
| Install 4 ½ inch aluminum retainer at all live roof edges | 232 | 17.00 | $ 3,944.00 |
| Install filter fabric | 1850 Sf | 1.00 | 1,850.00 |
|  |  | Total | $ 52,812.00 |

Thank you,

T&J Ahern LLC