# Estimate:

# Paramountearthworks.com

# Service Provider:							Customer:

# William Watson						         Montana Contracting

# 19 Caponero Dr.

# Rosendale, N.Y. 12472						Project I.D:

# (845)-401-6637				    	          5 Heidi Lane/ Li project

# billy@paramountearthworks.com

# Project Overview:

All projects will be completed according to engineered blue print specifications.

# Sub totals for individual projects:

House Demolition

-Utilities will be disconnected, and AC evacuated.

Subtotal: $2,000

-2,000 Square foot home will be demolished. All debris will be disposed of.

Subtotal: $20,000

-Foundation demolition and disposal.

Subtotal: $10,000

Demolition total: $32,000

Tree removal:

-3 oak trees along side of existing house and one pine tree in front of house will be felled, stumped and removed from property.

*larger log lengths can be left of site to be milled if desired, per the interest of the architect.

Subtotal: $1,800

Foundation Excavation:

-foundation will be dug per the engineered blue prints. This will include footing drains, drainage stone, and backfill.

Subtotal: $17,500

Patio Demolition:

*edit* -deconstruction, palletizing, and inventory of paver patio to be used at later date.

Subtotal: $5,400

Excavation and base material for new bluestone patios:

*if fill is needed to meet grade it will be a cost above the estimated price.

Subtotal: $3,800

Trenching for well and electric:

-electric and water line trenching including sand and backfilling.

Subtotal: $3,200

Driveway Excavation:

-existing asphalt driveway will be removed and material hauled off premises. Price will include:

- 6” minus base material, approximately 100 tons. This will be used to widen the driveway and for base in new driveway areas.

- Approximately 100 tons of item 4 stone will be layered 3” thick on entirety of 7,000 square foot driveway.

- *edit* driveway shape reconfiguration to accommodate site grading to existing garage. This will include removing the center island is driveway. -$6,800

- *edit* excavation for deer grate, including 2’ X 20’ covert pipe. (Excavation only, does not include installation of grate or cement base.)- $3,200

Subtotal: $36,500

Excavation for retaining walls-

Subtotal: $2,300

*edit* retaining walls added to total estimated price

Demolition of Garage:

-existing garage will be demolished, including cement slab foundation and disconnection of electric. All debris will be disposed of.

Subtotal: $0

*edit* project do be done at later date, estimated price void.

Garage Foundation:

-estimated size to be 20’ X 30’, with 4’ frost wall trenching. Slab on grade, price will include footing drains and backfill.

Subtotal: $5,500

*price subject to change when blueprints are available.

Installation and removal 	of silt fence:

*edit*-approximately 400 ft. of silt fence will be installed per engineered blueprints, including extension as specified in revised blueprints.

Subtotal: $850

# Project disclaimers:

- If bedrock is hit while digging it will be a cost above estimated price.

- If internal foundation needs to be raised, material and labor will be a cost above the estimated price.

- If fill is needed to raise site area it will be a cost above the estimated price.

- If engineered blueprints are altered, estimated prices are subject to change.

- If asbestos abetment is needed, it will be a cost above the estimated price.

- All permits will be obtained/ provided by home owner or General Contractor.

Total Estimated Price: $108,850

This estimate is an approximation and is not guaranteed. The estimate is based on information provided from the client and engineered blueprints regarding project requirements. Actual cost may change once all project elements and materials are finalized or negotiated. Prior to any changes of cost, the client will be notified.