# Estimate:

# Paramountearthworks.com

# Service Provider:							Customer:

# William Watson						         Montana Contracting

# 19 Caponero Dr.

# Rosendale, N.Y. 12472						Project I.D:

# (845)-401-6637				    	          5 Heidi Lane/ Li project

# billy@paramountearthworks.com

# Project Overview:

All projects will be completed according to engineered blue print specifications.

# Sub totals for individual projects:

House Demolition

-Utilities will be disconnected, and AC evacuated.

Subtotal: $2,000

-2,000 Square foot home will be demolished. All debris will be disposed of.

Subtotal: $20,000

-Foundation demolition and disposal.

Subtotal: $10,000

Demolition total: $32,000

Tree removal:

-3 oak trees along side of existing house and one pine tree in front of house will be felled, stumped and removed from property.

*larger log lengths can be left of site to be milled if desired, per the interest of the architect.

Subtotal: $1,800

Foundation Excavation:

-foundation will be dug per the engineered blue prints. This will include footing drains, drainage stone, and backfill.

Subtotal: $17,500

Patio Demolition:

-demolition and disposal of paver patio.

Subtotal: $2,700

Excavation and base material for new bluestone patios:

*if fill is needed to meet grade it will be a cost above the estimated price.

Subtotal: $3,800

Trenching for well and electric:

-electric and water line trenching including sand and backfilling.

Subtotal: $3,200

Driveway Excavation:

-existing asphalt driveway will be removed and material hauled off premises. This will include prep work for new driveway, not including new aggregate materials.

*Price for materials will be determined upon receiving engineered blueprints of new driveway. This will include finalizing width, depth and type of aggregate for new construction.

Subtotal: $16,900

Demolition of Garage:

-existing garage will be demolished, including cement slab foundation and disconnection of electric. All debris will be disposed of.

Subtotal: $8,500

Garage Foundation:

-estimated size to be 20’ X 30’, with 4’ frost wall trenching. Slab on grade, price will include footing drains and backfill.

Subtotal: $5,500

*price subject to change when blueprints are available.

*Silt fence will be installed prior to any work beginning.

# Project disclaimers:

- If bedrock is hit while digging it will be a cost above estimated price.

- If internal foundation needs to be raised, material and labor will be a cost above the estimated price.

- If fill is needed to raise site area it will be a cost above the estimated price.

- If engineered blueprints are altered, estimated prices are subject to change.

- If asbestos abetment is needed, it will be a cost above the estimated price.

- All permits will be obtained/ provided by home owner or General Contractor.

Total Estimated Price: $91,900

This estimate is an approximation and is not guaranteed. The estimate is based on information provided from the client and engineered blueprints regarding project requirements. Actual cost may change once all project elements and materials are finalized or negotiated. Prior to any changes of cost, the client will be notified.