11-10-24												Proposal

The Kulka Group

RE: 115 7th Ave, New York, NY.

Scope of work. - Concrete

- Furnish & install reinforced concrete column bases/footings (F5.0, F6.0, F6.4 & F8.5) in the cellar as shown on Drawing S-100.00 and Details on FO-200 Drawing.

- Furnish & install reinforced concrete Grade Beams (GB-1) in the Cellar as per Drawing S-100.00 and Details on FO-200 Drawing.

- Furnish & install reinforced concrete pier (P-1) in the Cellar as per Drawing S-100.00 and Details on FO-200 Drawing.

- Furnish & install reinforced concrete mat slabs (MAT-1 & MAT-2) in the cellar as per Drawing S-100.00 and Details on FO-200 Drawing.

- Furnish & install 8” deep reinforced concrete slab infill at existing opening in the cellar as per Drawing S-100.00 and Detail #4 on FO-200 Drawing.

- Furnish & install reinforced concrete Elevator pit slab and walls in the cellar as per Drawing S-100.00 and Detail on FO-200.00 and F-201 Drawings.

- Furnish & install reinforced concrete shear walls in the cellar as per Drawing S-100.00 and Detail on F-201 Drawings.

- Furnish & install 4” deep reinforced concrete infills on 2” Metal Deck from the 1st floor to the 5th floor, roof and Bulkhead level as per Drawings S-101.00 thru S-105.00, S-113.00 and S-114.00 & Details on S-300 Drawings.

- Furnish & install 4” deep reinforced concrete on 1-1/2” Metal Deck from the 6th floor thru to the 12th floor as per Drawings S-106.00 thru S-112.00 and Details on S-300 Drawings.

- Furnish & install 8”, 10”, 12” & 14” thick reinforced concrete shear walls from the 1st floor thru to roof & Bulkhead Level as per Drawings S-101.00 thru to S-114 and Details on S-200 & S-300 Drawings.

- Furnish & install concrete infills at Metal pan stairs & Landings at Stair A, B & C as per Drawings A-710.00 thru A-713.00 and Details on Drawing A-804.00.

- Grouting of Column Base plates included.

- Deliveries and clean up included.

Total sum for Scope of work…………... $2,485,000.00

Notes & Exclusions.

- All work on regular time.

- Price based on Non-union labor.

- Temp power & water supplied by GC.

- Debris to be center piled or placed in Mini containers supplied by the GC.

- All Demo work by others.

- All excavation work in cellar by others.

- Metal Deck furnished & installed by others.

- Exterior Scaffolding excluded.

- Welding excluded.

- Winter heat excluded.

- PE stamped Drawings excluded.

- Permits by others.

Regards

__________________

Tony Donnelly